## Cover
| List creation date | Feb 6, 2025
Selection result list
No_Name

## Error list
Device | Message type | Message | Message ID
Common | Warning | (Name: 1. MELSEC iQ-R) Not connected to any network. | WCM103

## Selection contents list
System name | No_Name
Device name | Product name | Model | Specifications | Arrangement code | Qty | Unit price | Subtotal | Remarks
[6 empty] | (-) | (-)
1. MELSEC iQ-R | Process CPU module | R08PCPU | Process control, Standard control program capacity: 80K steps | - | 2 | - | -
1. MELSEC iQ-R | Redundant function module | R6RFM | By combining with a process CPU, a redundant control system can be realized | - | 2 | - | - | The redundant system is configured when paired with the process CPU/SIL2 process CPU. Two tracking cables are separately required.
1. MELSEC iQ-R | Extended temperature range redundant power main base unit | R38RB-HT | 8 slots | - | 2 | - | -
1. MELSEC iQ-R | Redundant power supply module | R63RP | 24 V DC input | - | 4 | - | -
1. MELSEC iQ-R | DC input/transistor output combined module | RH42C4NT2P | Input: 24 V DC Output: 12 to 24 V DC, 0.2 A/point, 2 A/common External interface: 40-pin connector | - | 2 | - | - | External wiring connector: 2 x 40-pin connector (sold separately)
1. MELSEC iQ-R | 40-pin connector | A6CON1 | Soldering type 40-pin D-sub connector (straight type) | 13L101 | 2 | 2,200 | 4,400 | Soldering type connector (straight type)
1. MELSEC iQ-R | DIN rail mounting adapter | R6DIN1 | DIN rail: TH35-7.5Fe,TH35-7.5Al,TH35-15Fe | - | 2 | - | -
1. MELSEC iQ-R | Optical fiber cable for CC-Link IE Control Network | QG-G50-2C-2M-AW-LL | For fixed wiring Made by Mitsubishi Electric Sysyem & Service Co., Ltd. |  | 2 | - | -
|  |  |  | Total amount(-) |  |  | 4,400
Prices of some products, such as open price, are not included in the total amount.
[Disclaimer]
This is referential information for device selection.
The information is updated periodically, but it is not guaranteed to be up to date.
For the latest unit price and details of each device, please refer to catalogs or other materials.

## 1. MELSEC iQ-R
1. MELSEC iQ-R
■ Main base [SYS. A] Height: 101 mm Width: 439 mm Total weight: approx. 2.1 kg
|  |  |  | CPU | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Total
Product name | Main base | Power supply | Power supply | Process CPU | Redundant func. | I/O combined | - | - | - | - | - | - | -
Model | R38RB-HT | R63RP | R63RP | R08PCPU | R6RFM | RH42C4NT2P | - | - | - | - | - | - | -
Control CPU | - | - | - | - | - | No.1 | - | - | - | - | - | - | -
No. of occupied I/O points | - | - | - | - | 32 points | 32 points | 16 points | 16 points | 16 points | 16 points | 16 points | 16 points | 160 points
Start I/O No. | - | - | - | - | 0000 | 0020 | 0040 | 0050 | 0060 | 0070 | 0080 | 0090 | -
5 V DC current consumption | 0.86A | - | - | 0.76A | 0.88A | 0.22A | - | - | - | - | - | - | 2.72A
Option | R6DIN1 | - | - | - | - | A6CON1 | - | - | - | - | - | - | -
| - | - | - | - | - | - | - | - | - | - | - | - | -
| - | - | - | - | - | - | - | - | - | - | - | - | -
| - | - | - | - | - | - | - | - | - | - | - | - | -
Tracking cable: QG-G50-2C-2M-AW-LL/2 m (x2)
■ Main base [SYS. B] Height: 101 mm Width: 439 mm Total weight: approx. 2.1 kg
|  |  |  | CPU | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Total
Product name | Main base | Power supply | Power supply | Process CPU | Redundant func. | I/O combined | - | - | - | - | - | - | -
Model | R38RB-HT | R63RP | R63RP | R08PCPU | R6RFM | RH42C4NT2P | - | - | - | - | - | - | -
Control CPU | - | - | - | - | - | No.1 | - | - | - | - | - | - | -
No. of occupied I/O points | - | - | - | - | 32 points | 32 points | 16 points | 16 points | 16 points | 16 points | 16 points | 16 points | 160 points
Start I/O No. | - | - | - | - | 0000 | 0020 | 0040 | 0050 | 0060 | 0070 | 0080 | 0090 | -
5 V DC current consumption | 0.86A | - | - | 0.76A | 0.88A | 0.22A | - | - | - | - | - | - | 2.72A
Option | R6DIN1 | - | - | - | - | A6CON1 | - | - | - | - | - | - | -
| - | - | - | - | - | - | - | - | - | - | - | - | -
| - | - | - | - | - | - | - | - | - | - | - | - | -
| - | - | - | - | - | - | - | - | - | - | - | - | -